support.ewon.biz

Application User Guide
AUG 065 / Rev. 1.0
Reach an eWON with a suitable IP address using eBuddy
Learn what a suitable IP address for your network means and how to apply one to your eWON using eBuddy.
# Definition of suitable IP address
To avoid routing issues with an eWON on a network, it is better to start configuring the eWON with LAN IP addresses that will be suitable.
The type of communication media (GPRS or WAN/LAN) your eWON uses to connect to the Internet will have an impact on the IP address selection.
Before starting the configuration, please read the general principles below.
## Internet connection using the WAN interface
If the plan is to connect to the Internet using the WAN interface, the eWON requires a LAN IP address on the PLC side and a WAN IP address on the network side.
Example of IP ranges involved in a WAN/LAN configuration:

The company network address ranges (Company LAN and On-site LAN in the example above) are specified and managed by their respective network administrators.
These ranges cannot be simply changed. So before configuring the eWON LAN IP address and the PLC IP addresses, please ask for:
- The specified company LAN network range (Company LAN) to be used by the PC that will initiate the remote connection.
  In our example this range is 10.0.0.#
- The specified company LAN network range (On-site LAN) and gateway which the eWON WAN port will use to get an Internet connection.
  In our example this range is 10.10.0.#
By knowing the ranges used in the Company and On-site, you will be able to select a range outside these networks for the eWON LAN-port and the PLC(s).
In the above example, we could select addresses in the 192.168.0.# IP range for the eWON LAN and PLC(s) since it does not overlap neither with the Company LAN range nor the On-site LAN range.
## Internet connection by modem (GSM, PSTN, ADSL)
If the plan is to connect to the Internet through a modem, you only need to select an IP address for the eWON LAN side.
The IP address of the eWON LAN interface must be compatible with the IP address of the device(s) connected to the eWON but still out of the network range which the PC is connected to (so from the Company LAN).
If there is as an overlap between the IP range of the PC and the eWON LAN (and so the devices connected to it), the setup will not route correctly.
Example of IP ranges involved in a GPRS/Edge modem configuration:

## Summary
For proper routing, remember that:
- The eWON LAN IP address must be part of the same IP range as the LAN of the device(s) connected to it.
- The eWON WAN and LAN IP addresses must be in different IP ranges. The WAN port of the eWON is generally DHCP-enabled, which is a good way to make sure that it will be compatible with the company network.
- The remote device(s) network (eWON LAN) must be in a different IP range than the company network which the PC is connected to (Company LAN).
# Heading 1
Nullam dui eros, mollis vel posuere vitae, hendrerit sed enim. Praesent auctor commodo orci eget facilisis. Cum sociis natoque penatibus et magnis dis parturient montes, nascetur ridiculus mus[i].
[i] This is Endnote 1
# Heading 2
Pellentesque at lectus id odio rhoncus fermentum ut a felis. Sed nulla leo, auctor id tempor vitae, laoreet eget velit. Sed dapibus mi nec ultrices interdum. Praesent elementum semper risus sit amet consequat. Donec scelerisque consequat ipsum, a varius lacus feugiat suscipit.
## Sub heading 2
Quisque vitae dapibus quam, a porta sem. Vestibulum odio velit[ii], congue eu arcu eu, sodales interdum elit. Mauris in eleifend enim. Pellentesque habitant morbi tristique senectus et netus et malesuada fames ac turpis egestas.
[ii] This is Endnote 2
# Revision
## Revision History
Revision Level	Date	Description
1.0	01/01/0001	Description
1.1	01/01/0001	Description

Document build number: 9
Note concerning the warranty and the rights of ownership:
The information contained in this document is subject to modification without notice. Check http://ewon.biz/support for the latest documents releases.
The vendor and the authors of this manual are not liable for the errors it may contain, nor for their eventual consequences.
No liability or warranty, explicit or implicit, is made concerning the quality, the accuracy and the correctness of the information contained in this document. In no case can the manufacturer's responsibility be implied for direct, indirect, accidental or other damage occurring from any defect of the product or mistakes coming from this document.
The product names are mentioned in this manual for information purposes only. The trade marks and the product names or marks contained in this document are the property of their respective owners.
This document contains materials protected by the International Copyright Laws. All reproduction rights are reserved. No part of this handbook can be reproduced, transmitted or copied in any way without written consent from the manufacturer and/or the authors of this handbook.
eWON sa, Member of ACT'L Group