How to do a PING function with Basic

# Purpose
Often, eWON must drop something on a Server, but first thing to do is to know if this Server is available. On network world, we use the PING function to test the IP address of the targeted Server.
eWON has no Ping function, but you can do a similar function with the Basic OPEN function.

# Implementation
Put the following code in your eWON.

Ping:
  PRINT "ping ";Time$
  CLOSE 1
  ONSTATUS "goto ProcessStatus"
  OPEN "tcp:10.0.120.122:80,10" FOR BINARY OUTPUT AS 1
  a% = GETSYS PRG,"ACTIONID"
END

ProcessStatus:
  PRINT "process ";Time$
  b% = GETSYS PRG,"EVTINFO"
  IF b%=a% THEN
    SETSYS PRG,"ACTIONID",a%
    c% = GETSYS PRG,"ACTIONSTAT"
    IF c%=0 THEN
      PRINT "PING 10.0.120.122:80 success"
    ELSE
      PRINT "PING 10.0.120.122:80 failed"
    ENDIF
    CLOSE 1
  ENDIF
END

This Ping procedure will test the IP address 10.0.120.122 on port 80 with a TimeOut of 10 seconds (see Programming Guide: OPEN function for complete reference).