Bypass the limitation of the dynamic IsoTCP to MPI gateway
Using the eWON as an ISOTCP to MPI gateway is really usefull when you have an IsoTCP software unable to build long TSAP request, but it's limited to one device.
see Use eWON as ISOTCP to MPI/Profibus gateway
To get around this limitation, some of us tried to dynamically modify the parameter IsoTCPGWNode by Basic (with GetSys/SetSys functions) to reach different MPI node (one at the time).
It works BUT we noticed a problem, some PLC have a limited MPI sessions number and each time you go on one destination, you open a new MPI session. Then, after a moment, the PLC doesn't accept a new MPI session and you will see some "MPI-Read fails" error in the events.txt.
Usually, unused sessions will be closed after a TimeOut, but on old PLC you need to reboot it.
Conclusion
Using eWON to reach several MPI node by dynamically changing the IsoTCPGWNode parameter is functionning BUT, depending of the target devices, you will be limited in the rate of destination changes.
# Revision
## Revision History
Revision Level	Date	Description
1.0	14/07/2010	Creation of document

Document build number: 27
Note concerning the warranty and the rights of ownership:
The information contained in this document is subject to modification without notice. Check http://wiki.ewon.biz for the latest documents releases.
The vendor and the authors of this manual are not liable for the errors it may contain, nor for their eventual consequences.
No liability or warranty, explicit or implicit, is made concerning the quality, the accuracy and the correctness of the information contained in this document. In no case the manufacturer's responsibility could be called for direct, indirect, accidental or other damage occurring from any defect of the product of errors coming from this document.
The product names are mentioned in this manual for information purposes only. The trade marks and the product names or marks contained in this document are the property of their respective owners.
This document contains materials protected by the International Copyright Laws. All reproduction rights are reserved. No part of this handbook can be reproduced, transmitted or copied in any way without written consent from the manufacturer and/or the authors of this handbook.
eWON sa, Member of ACT'L Group